# EN54 Internal Battery (24h)

Rechargeable Li-ion battery (7.4 V/5 Ah) to install into EN54 Fire Hub Jeweller or EN54 Fire ReX Jeweller

| ### Battery type | Battery 4 × 18650 Rechargeable Li-ion battery. Nominal voltage 7.4 V⎓ Capacity 5 Ah |
| --- | --- |
| ### Power supply | Maximum load current 3.2 A End-of-life battery voltage 6 V⎓ |
| ### Recommendations | Use the battery with compatible devices only. The battery is designed for indoor use only. |
| ### Enclosure | Dimensions 166 × 87 × 23 mm 6.54" × 3.43" × 0.92" Weight 270 g 9.52 oz Operating temperature range from −10 °C to +40 °C from 14 °F to 104 °F Operating humidity up to 75% non-condensing Protection class IP20 |
| ### Color | Black White |
| ### Complete set | EN54 Internal Battery (24h) |
| Warranty | 24 months |