# ExternalAntenna

Antenna for LTE or radio communication

| # Key features | Communication channels 2G/3G/LTE Jeweller Wings Operating frequencies 698–960 MHz 1,710–2,690 MHz Connector SMA |
| --- | --- |
| # Sabotage protection | External antenna breakage detection An Ajax system is able to detect a breakage of an external antenna and notify users and the monitoring company. |
| # Installation | - The antenna is connected to the hub’s communication channels and goes outside through holes in the hub’s casing. - The antenna is attached to the surface using a pre-applied double-sided adhesive tape. |
| # Enclosure | Dimensions 115.6 × 21.7 × 5.8 mm 4.55″ × 0.85″ × 0.23″ Cable length 3,000 mm 9.84″ Weight 41 g 1.45 oz Operating temperature range from –40 °C to +85 °C from –40 °F to 185 °F Operating humidity up to 95% |
| # Colors | Black |
| # Complete set | ExternalAntenna Quick start guide |
| Warranty | 24 months |