# Internal battery NB (7.2V/95Ah)

Pack of 10 LTC ER34615-LD non-rechargeable batteries to install into Hub BP Jeweller

| ### Battery type | Batteries 10 × ER34615 Non-rechargeable, lithium thionyl chloride battery with HPC-1520 pulse capacitor. Nominal voltage 7.2 V⎓ Capacity 95 Ah |
| --- | --- |
| ### Power supply | Maximum load current 700 mA End-of-life battery voltage 4 V⎓ |
| ### Recommendations | Do not short the power terminals. Do not recharge the battery. Use the battery with compatible devices only. The battery is designed for indoor use only. |
| ### Enclosure | Dimensions 135 × 65 × 105 mm 5.31" × 2.56" × 4.13" Weight 990 g 35 oz Battery connector type Molex 2139-2 Operating temperature range from −10 °C to +40 °C from 14 °F to 104 °F Operating humidity up to 75% |
| ### Complete set | Internal battery NB (7.2V/95Ah) |
| Warranty | 24 months |